Standard Operating Procedure (SOP) Template

Empty SOP structure for recurring tasks

Classification
Example public-facing operational documentation structure. Simplified and generalized.

| Document ID |  |
| --- | --- |
| Revision |  |
| Status |  |
| Approval |  |

1. Purpose

Describe the recurring task this procedure covers and why it is done.

____________________________________________________________

____________________________________________________________

____________________________________________________________

2. Scope

Define which systems, locations and situations the procedure applies to.

____________________________________________________________

____________________________________________________________

____________________________________________________________

3. Preconditions

☐ Required access and approvals in place

☐ Required tools and PPE available

☐ Relevant people informed

☐ No active alarms affecting the task

☐ Supporting systems verified available

☐ Monitoring active

4. Responsibilities

| Role | Responsibility |
| --- | --- |

5. Execution Procedure

| Step | Room/Tag | Action | Verification | Sign-1 | Sign-2 |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

6. Risk Considerations

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

7. Rollback

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

8. Post Verification

☐ System returned to approved operational state 
☐ Alarm and monitoring status verified normal 
☐ Operational logs and records updated 
☐ Maintenance or change activity formally closed 
☐ Stakeholders informed of completion status 
☐ No unresolved operational exceptions remain

9. Operational Notes

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

Document Metadata

| Type |  |
| --- | --- |
| Category |  |
| Criticality |  |
| Status |  |

Key Principles

• Controlled execution

• Verification at each step

• Clear ownership

• Defined rollback path

Template provided by © Tom Jensen | tomjensen.no